## Cover
GALAXY FUTURES Shanghai office decoration
Construction Quotation
Remarks :
1、The following items are excluded in this quotation:
此报价不包括以下内容：
a、All the system furniture
所有系统家具
b、Others, please specify.
其他，请列明
2、Fire Protection will be done by landlord's nominated contractor.
消防工程将由物业\业主指定的承包商完成。
3、The price of A/C works will be done by landlord's nominated contractor.
空调工程将由物业\业主指定的承包商完成。
4、For any other issues, will be resolved through communication by both sides based on the contract.
对于任何其他问题，将通过双方基于合同的沟通来解决。
*** construction engineering co. LTD.
2018-03-30

## summary
Summary汇总表
Project NO. ：
Project Name：GALAXY FUTURES Shanghai office decoration
Date:2018_03_30
序号 | DESCRIPTION | quantity | Unit | Amount | Note
一 | decoration\装饰部分
A | Preliminaries/施工措施费 | 1 | sum | 0
B | Demolition Works/拆除工程 | 1 | sum | 0
C | Partition Works\隔墙工程 | 1 | sum | 0
D | Ceiling Works\天花工程 | 1 | sum | 0
E | Floor finishing/ 地面工程 | 1 | sum | 0
F | Wall finishing/墙面饰面 | 1 | sum | 0
G | Door works/ 门工程 | 1 | sum | 0
H | Carpentry Works & LOGO /固定家具及LOGO工程 | 1 | sum | 0
I | System furniture\活动家具工程 | 1 | sum | 0
J | Electrical Works/机电工程 | 1 | sum | 0
K | Water supply and drainage works/ 给排水工作 | 1 | sum | 0
L | cable system\综合布线 | 1 | sum | 0
M | Intelligent system、智能化工程 | 1 | sum | 0
N | Air-conditioning Works/空调工程（由大楼指定分包完成） | 1 | sum | 0
O | Fire System /消防工程（由大楼指定分包完成） | 1 | sum | 0
|  |  | Total | 0
|  |  | Add site mangement fee (8%) | 0
|  |  | Add government tax 11% | 0
|  |  | GRAND TOTAL | 0
| Net area (sqm) |  |  | 2750.44
| RMB/sqm |  |  | 0
二 | IT equipment\机房设备
A | UPS\不间断电源系统 | 1 | sum | 0
B | The telephone system\电话系统 | 1 | sum | 0
C | EMS\环境监控系统 | 1 | sum | 0
D | 思科服务器 | 1 | sum | 0
E | 监控系统 | 1 | sum | 0
F | 门禁系统 | 1 | sum | 0
|  |  | Total | 0
|  |  | Add site mangement fee (8%) | 0
|  |  | Add government tax 11% | 0
|  |  | GRAND TOTAL | 0
| Net area (sqm) |  |  | 2750.44
| RMB/sqm |  |  | 0

## Quotation
QUOTATION工程量清单
Project NO. ：
Project Name：GALAXY FUTURES Shanghai office decoration
Date:2018_03_30
序号 | DESCRIPTION OF WORKS | quantity | Unit | Rate | Amount
A | Preliminaries/施工措施费
1 | Worker passport fee | 1 | sum |  | 0
工人出入证费
2 | Drawing Vetting Fee by BMO | 2750.44 | sm |  | 0
大楼图纸审图费用
3 | Submission to Quality Supervision Department and Safety Stand | 1 | sum |  | 0
报建费用
4 | Project Insurance, incl. Project all Risks & 3rd Party Liability Insurance | 1 | sum |  | 0
工程保险，包括工程一切险/第三方责任险
5 | Project Insurance: Workers Comprehensive Insurance | 1 | sum |  | 0
工程保险，工人综合险
6 | Measures fee for civilized construction | 1 | sum |  | 0
文明施工措施费
7 | Fire prevention facilities/secure strategies during construction. | 25 | set |  | 0
消防灭火器及箱子,2个灭火器加一个箱子为一组
8 | Building Management attendance fee | 2750.44 | sm |  | 0
大厦收取管理费
9 | Material inspection fee by fire department | 4 | sum |  | 0
消防部门材料检测费
10 | Material inspection fee by quality department | 8 | nos |  | 0
质检部门材料检测费
11 | Supply & install floor & wall protection at lift lobby and corridor | 1 | sum |  | 0
提供人工及材料对走道及电梯厅保护
12 | Supply & install protection sheet to existing furniture /equipment | 1 | sum |  | 0
提供人工及材料对原有家具及设备进行施工期间保护
13 | Protect works for existing curtain | 1 | sum |  | 0
原有幕墙保护
14 | Protect works for existing air grille | 1 | sum |  | 0
原有空调风口保护
15 | Site setting-out & marking | 1 | sum |  | 0
现场放线及标注
16 | Measures fee for Scaffolding construction | 1 | sum |  | 0
脚手架搭建措施费
17 | Clear debris for office premises during construction | 1 | sum |  | 0
施工期间现场垃圾清理
18 | Material vertical transporation fee | 1 | sum |  | 0
施工期间材料垂直运输费用
19 | Supply & install protection on completed floor finishes | 1 | sum |  | 0
对新建完成地面进行施工期间保护
20 | Fire prevention facilities/secure strategies during construction. | 1 | sum |  | 0
施工期间消防/安全措施
21 | To power system usage during project processing period. (Temporary MCB box, Lighting, Wiring etc.) | 1 | sum |  | 0
施工现场临时供电及照明设施
22 | Water and Electricity supply from Building Management | 1 | sum |  | 0
大厦物业收取施工期间水电费
23 | Debirs charge by BMO | 2750.44 | sm |  | 0
大楼收取的垃圾清运费
24 | the parking Fee by BMO | 1 | sum |  | 0
大楼收取的停车费
25 | Indoor air quality test fee, before system furnitrue installation | 26 | point |  | 0
室内空气质量检测费,于系统家具安装前
26 | Supply professional cleaner for general cleaning work upon completion of renovation work , one time initial cleaning, one time precision cleaning | 2750.44 | sm |  | 0
提供专业清洁公司做竣工最终清洁,一次初保洁,一次完工精保洁 (家具安装前及家具安装后)
Others, please specify.
其它，请列明
|  |  |  | SUBTOTAL(A) | 0
B | Demolition Works/拆除工程
27 | Protective demolition of existing Aluminum ceiling to match new layout plan | 1 | nos |  | 0
保护性拆除原有铝板天花，以满足新的平面布局
28 | strip away existing painting to match new layout plan，including base coat | 288 | sm |  | 0
拆除原有墙面乳胶漆包含底漆，以满足新的平面布局
29 | Demolish existing Aluminum skirting to match new layout plan | 81.95 | lm |  | 0
拆除原有踢脚线-铝合金，以满足新的平面布局
30 | Protective demolition of existing lightings、air grille to match new layout plan | 1 | nos |  | 0
保护性拆除天花灯具、风口，以满足新的平面布局
30 | Others, please specify.
其它，请列明
|  |  |  | SUBTOTAL(B) | 0
C | Partition Works\隔墙工程
31 | Supply and install Gysum board partition，From ground to false celling，celling interior keel gypsum board to top.with 1 layer of 12mm thick plaster board on both sides | 1013.268 | sm |  | 0
提供并安装轻钢龙骨石膏板隔墙，从地面至假天花,天花内部龙骨石膏板到顶(双面单层）
32 | Gysum board partition on top of glass partition, door, operable wall etc.with 1 layer of 12mm thick plaster board on both sides | 203.208 | sm |  | 0
提供并安装石膏板隔墙于玻璃隔断，门，活动隔断上方等(双面单层）
33 | Supply and install Stainless steel trim strip in 'U' channel,10mmW*10mmH | 108 | lm |  | 0
提供并安装铝合金条-10*10mm U型槽
34 | Supply and install electromagnetic radiation shielding wall | 102.864 | sm |  | 0
提供并安装IT机房电磁辐射屏蔽墙（A级防火要求）
35 | Supply and install Cement pressure plate partition，From ground to false celling，celling interior keel gypsum board to top.with 2 layers of board on one side | 21.06 | sm |  | 0
提供并安装型钢龙骨水泥板基层，从地面至假天花,天花内部石膏板到顶(单面双层）
36 | Supply and install 1：2.5 cement mortar single surface batch/full wire mesh | 21.06 | sm |  | 0
提供1:2.5水泥砂浆单面批荡/满挂钢丝网
37 | Supply and install rockwool insulation，From ground to ture celling | 1340.4 | sm |  | 0
提供并安装隔音棉，从地面至结构顶
38 | Additional special track for operable wall, including reinforcement with existing ceiling structure | 14.9 | lm |  | 0
增加轨道为活动隔断,含与原有天花结构的加固工作
39 | Supply and install operable wall，with 1 layer of fabric panel on both sides | 15.9 | sm |  | 0
提供并安装活动隔断，布艺硬包饰面
40 | Additional reinforcement with steel for Office system partition | 98.7 | lm |  | 0
增加办公系统隔断天花上钢架加固
41 | Supply and install Office system partition | 150.52 | sm |  | 0
提供并安装办公系统隔断，10+12mm超白钢化玻璃
42 | Supply and install system partition door，don't including Door closers, ground springs, door locks, hardware. | 20 | set |  | 0
提供并安装系统隔断配套门含门框
43 | Supply and install concealed installation door closer for door | 20 | nos |  | 0
提供及安装暗装闭门器于门
44 | Supply and install Walk line column for Office system partition | 60 | lm |  | 0
提供并安装系统隔断走线柱
45 | Supply and install Thermal bending glasssystem partition | 12.6 | sm |  | 0
提供并安装热弯玻璃系统隔断
46 | Supply and install Thermal bending electron atomized glasssystem partition | 55.04 | sm |  | 0
提供并安装热弯电子雾化玻璃系统隔断
47 | Supply and install The gradient film on glass panel | 141.38 | sm |  | 0
提供并安装办公系统隔断渐变贴膜
48 | Supply and install Electric shutter in glass panel | 20.7 | sm |  | 0
提供并安装办公系统电动卷帘
48 | Others, please specify. |  |  |  | 0
其它，请列明
|  |  |  | SUBTOTAL(C) | 0
D | Ceiling Works\天花工程
49 | Supply and install feature gypsum plastered ceiling，including keel | 554.04 | sm |  | 0
提供并安装造型石膏板天花，含轻钢龙骨
50 | Supply and install The Rectangular aluminum ceilingto match new layout plan | 1 | nos |  | 0
调整及安装铝板天花，为满足新的平面布局
51 | Supply and install Light box on the celling，including Acrylic transparent sheet | 13.59 | sm |  | 0
提供并安装天花灯箱，包含亚克力透光片
52 | Supply and install Shaped perforated aluminum ceiling，including keel | 13.59 | sm |  | 0
提供并安装异型冲孔铝板 含轻钢龙骨
53 | Supply and install level-A permeable membrane，including plywood basement | 35 | lm |  | 0
提供并安装透光膜木工板基层
54 | Supply and install level-A permeable membrane，including plywood basement | 35 | lm |  | 0
提供并安装B级透光膜
55 | Supply and install Gypsum board light trough | 72 | lm |  | 0
提供并安装石膏板泛光灯槽
56 | Supply and install Stainless steel light trough，150 mmW * 120 mmH | 20.17 | lm |  | 0
提供并安装天花不锈钢灯槽木工板基层
57 | Supply and install Stainless steel light trough，150 mmW * 120 mmH | 20.17 | lm |  | 0
提供并安装天花不锈钢灯槽，150mm宽*120mm高
58 | Supply and install Gypsum board pelmet for windows，200 mmW * 200 mmH | 48.05 | lm |  | 0
提供并安装石膏板窗帘盒，200mm宽*200mm高
59 | Supply and install emulsion paint at celling | 637.146 | sm |  | 0
提供及安装顶面乳胶漆 PT-01
60 | Supply and install emulsion paint for Lamp chamfer、window pelmet PT-01 | 155.05 | lm |  | 0
提供及安装灯槽、窗帘盒乳胶漆 PT-01
61 | Supply and install 450 x 450 access panel | 17 | nos |  | 0
提供及安装天花450*450检修口
61 | Others, please specify.
其它，请列明
|  |  |  | SUBTOTAL(D) | 0
E | Floor finishing/ 地面工程
62 | Supply and install hollow core brick with cement under homogenous tiles、concrete floor & marble floor | 250.814 | sm |  | 0
提供及安装玻化砖及大理石地面下轻质混凝土垫层
63 | Supply and install floor marble， ST-01 | 89.355 | sm |  | 0
提供及安装大理石 ST-01
64 | Supply and install floor marble， ST-02 | 28.539 | sm |  | 0
提供及安装大理石 ST-02
65 | Supply and install floor marble polishing & Crystal processing | 117.89 | sm |  | 0
提供及安装大理石打磨、晶面处理
66 | Supply & install Electromagnetic radiation shielding iron plate under floor | 25.949 | sm |  | 0
提供及安装机房地面电磁辐射屏蔽铁板
67 | Supply & install antistatic raised floor AF-01 | 25.949 | sm |  | 0
提供及安装防静电地板，包含基座 AF-01
68 | install existing Raised existing floor，including Relocate level to install PVC floor、selected carpet tiles | 1456.24 | sm |  | 0
调整原有高架地板，为安装地毯、PVC地板
69 | cutting Raised existing floor to match new layout plan | 670 | lm |  | 0
为满足现有布局切割高架地板
70 | Supply and install Gypsum board light trough on the floor | 13.6 | lm |  | 0
提供并安装地面地台泛光灯槽钢架基层
71 | Supply and install Gypsum board light trough on the floor | 13.6 | lm |  | 0
提供并安装地面地台泛光灯槽
72 | Supply and install timber floor including backing。 | 132.92 | sm |  | 0
提供及安装木地板基层
73 | Supply and install timber floor including backing。 | 55.68 | sm |  | 0
提供及安装木地板人字拼花 WF-01
74 | Supply and install PVC floor including backing。Pvc-01 | 18.359 | sm |  | 0
提供及安装PVC胶地板人字拼花 pvc-01
75 | Supply and install PVC floor including backing。Pvc-02 | 58.883 | sm |  | 0
提供及安装PVC编织胶地板 pvc-02
76 | Supply and install selected carpet tiles CP-01 | 1009.833 | sm |  | 0
提供及安装办公块毯 CP-01
77 | Supply and install selected carpet tiles CP-02 | 236.555 | sm |  | 0
提供及安装办公块毯 CP-02
78 | Supply and install selected carpet tiles CP-03 | 141.339 | sm |  | 0
提供及安装办公块毯 CP-03
79 | Supply and install selected carpet tiles CP-04 | 136.895 | sm |  | 0
提供及安装办公块毯 CP-04
80 | Supply and install Customize carpets CP-05 | 4.0596 | sm |  | 0
提供及安装定制地毯 CP-05
81 | Supply and install Customize carpets CP-06 | 8.9046 | sm |  | 0
提供及安装定制地毯 CP-06
82 | Supply and install brass trim strip in 'U' channel,10mmW MT-03 | 42 | lm |  | 0
提供及安装黄铜嵌条-10mm宽 MT-03
83 | Dispersion force plane | 7 | nos |  | 0
散力架定制
Others, please specify.
其它，请列明
|  |  |  | SUBTOTAL(E) | 0
F | Wall finishing/墙面饰面
84 | Supply and install plywood basement to install fabric panel | 68.838 | sm |  | 0
提供并安装木工板基层，为安装布艺硬包
85 | Supply and install fabric panel FA-01 | 68.838 | sm |  | 0
提供及安装墙面布艺硬包，FA-01
86 | Supply and install plywood basement to install timber veneer | 19.7005 | sm |  | 0
提供并安装木工板基层，为安装木饰面
87 | Supply and install timber veneer WD-01 | 19.7 | sm |  | 0
提供及安装墙面木饰面，WD-01
88 | Supply and install plywood basement to install white board at wall | 90.486 | sm |  | 0
提供并安装木工板基层，为安装白板玻璃
89 | Supply and install white board at wall GL-02 | 90.49 | sm |  | 0
提供及安装墙面白板玻璃，GL-02
90 | Supply and install plywood basement to install Black baking glass | 8.129 | sm |  | 0
提供并安装木工板基层，为安装黑色烤漆玻璃
91 | Supply and installBlack baking glass GL-03 | 8.13 | sm |  | 0
提供及安装墙面黑色烤漆玻璃，GL-03
92 | Supply and install Gypsum board light trough | 17.2 | lm |  | 0
提供并安装木工板泛光灯槽
93 | Supply and install plywood basement to install blue baking glass | 12.199 | sm |  | 0
提供并安装木工板基层，为安装蓝色烤漆玻璃
94 | Supply and install Blue baking glass GL-04 | 12.2 | sm |  | 0
提供及安装墙面蓝色烤漆玻璃，GL-04
95 | Supply and install the Aluminum cap strip | 135 | lm |  | 0
提供及安装墙面不锈钢收边条
96 | Supply and install the Steel basement frame welding for Green plant at wall | 12.17 | sm |  | 0
提供及安装绿植墙钢架烧焊基层
97 | Supply and install Green plant at wall GZ-01 | 12.17 | sm |  | 0
提供及安装绿植墙，GZ-01
98 | Supply and install plywood basement to install TV background | 4 | nos |  | 0
提供及安装墙面电视背景框木工板基层加固
99 | Supply and install Stainless steel TV frame | 4 | nos |  | 0
提供及安装墙面不锈钢电视框
100 | Supply and install the metal slot for collect pen | 47.2 | lm |  | 0
提供及安装墙面黑板笔槽
101 | Supply and install the basement of Aluminum skirting | 796.8 | lm |  | 0
提供及安装不锈钢踢脚线基层
102 | Supply and install the Aluminum skirting | 796.8 | lm |  | 0
提供及安装墙面金属踢脚线
103 | Supply labor and material to plaster smooth existing wall and column up to ceiling board level, finish in emulsion paint including base coat PT-01 | 1533.824 | sm |  | 0
提供人工及材料批嵌原有墙及柱面，乳胶漆完成面含底漆 PT-01
104 | Supply labor and material to plaster smooth existing wall and column up to ceiling board level, finish in emulsion paint including base coat PT-02 | 43.654 | sm |  | 0
提供人工及材料批嵌原有墙及柱面，乳胶漆完成面含底漆 PT-02
105 | Supply labor and material to plaster smooth existing wall and column up to ceiling board level, finish in emulsion paint including base coat PT-03 | 10.6835 | sm |  | 0
提供人工及材料批嵌原有墙及柱面，乳胶漆完成面含底漆 PT-03
106 | Supply labor and material to plaster smooth existing wall and column up to ceiling board level, finish in emulsion paint including base coat PT-04 | 15.3065 | sm |  | 0
提供人工及材料批嵌原有墙及柱面，乳胶漆完成面含底漆 PT-04
107 | Supply labor and material to plaster smooth existing wall and column up to ceiling board level, finish in emulsion paint including base coat PT-05 | 9.2805 | sm |  | 0
提供人工及材料批嵌原有墙及柱面，乳胶漆完成面含底漆 PT-05
108 | Supply and install Metope photo at wall，don't including the fixing of marine ply to receive the finishes | 56.994 | sm |  | 0
提供及安装墙面写真，不包含墙面基层处理
109 | Provide existing decoration wall renovation. | 193.68 | sm |  | 0
安装原有核心筒墙面翻新
109 | Others, please specify. |  |  |  | 0
其它，请列明
|  |  |  | SUBTOTAL(F) | 0
G | Door works/ 门工程
110 | Supply & install single door frame with Wood grain fire prevention board | 4 | set |  | 0
提供及安装单开门木纹防火板门套及基层
111 | Supply & install single swing door in timber veneer finish including level handle and necessary ironmongeries，exclude door closer & door frame | 18 | sm |  | 0
提供及安装单开木饰面门，包含拉手及其他五金，不含闭门器、门框
112 | Supply & install Double swing door frame with Wood grain fire prevention board | 1 | set |  | 0
提供及安装双开门木纹防火板门套及基层
113 | Supply & install single swing door in timber veneer finish including level handle and necessary ironmongeries，exclude door closer & door frame | 4.5 | sm |  | 0
提供及安装双开甲级木质防火门，包含拉手及其他五金，不含闭门器、门框
114 | Supply & install single door frame with Wood grain fire prevention board | 1 | set |  | 0
提供及安装单开门木纹防火板门套及基层
115 | Supply & install single swing door in timber veneer finish including level handle and necessary ironmongeries，exclude door closer & door frame | 2.7 | sm |  | 0
提供及安装单开甲级木质防火门，包含拉手及其他五金，不含闭门器、门框
116 | Supply & install entry door frame with basement treatment | 1 | set |  | 0
提供及安装入户门不锈钢门套及基层
117 | Supply & install Automatic Double swing door | 1 | set |  | 0
提供及安装入户双开自动移门
118 | Supply and install Timber veneerfinish swing door WD-01 | 15.3 | sm |  | 0
提供并安装实木移门 WD-01
119 | Supply and install open installation door closer for door | 8 | nos |  | 0
提供及安装明装闭门器于门
120 | Touch up works for existing door at corridor area & toilet area | 11 | set |  | 0
原有门翻新于核心筒区域
120 | Others, please specify. |  |  |  | 0
其它，请列明
|  |  |  | SUBTOTAL(G) | 0
H | Carpentry Works & LOGO /固定家具及LOGO工程
121 | Construct The irregular shape of the artificial stone reception desk | 1 | nos |  | 0
提供及安装异型人造石前台
122 | Construct Bar counter with artificial marble top | 3 | lm |  | 0
提供及安装人造石长条座台
123 | Construct full height cabinet in timber veneer finish; c/w swing door panel and internal shelving | 111.77 | sm |  | 0
提供及安装木饰面全高柜，包含开门及柜体内层板，拉手等五金 WD-01
124 | Construct low height cabinet in timber veneer finish; c/w swing door panel and internal shelving | 5.73 | lm |  | 0
提供及安装木饰面低柜，开门及柜体内层板，拉手等五金 WD-01
125 | Construct top hanging cabinet in timber veneer finish; c/w swing door panel and internal shelving | 12.98 | lm |  | 0
提供及安装木饰面吊柜，包含开门及柜体内层板，拉手等五金 WD-01
126 | Supply and install Custom shelves | 13.78 | lm |  | 0
提供及安装定制货架
127 | Supply and install Main signages | 1 | nos |  | 0
提供及安装企业LOGO
128 | Supply & install the Room name plate | 28 | nos |  | 0
提供及安装门牌标识
Others, please specify.
| 其它，请列明 |  |  |  | 0
|  |  |  | SUBTOTAL(H) | 0
I | System furniture\活动家具工程
129 | material management fee | 1 | sum |  | 0
甲供材料管理费
129 | Others, please specify. |  |  |  | 0
其它，请列明
|  |  |  | SUBTOTAL(I) | 0
J | Electrical Works/机电工程
130 | install main power distribution box，including internal components | 1 | nos |  | 0
安装主配电箱，包含内部元器件
131 | install power distribution box for IT room use，including internal components | 1 | nos |  | 0
安装机房配电箱，包含内部元器件
132 | install power distribution box for lighting system use，including internal components | 8 | nos |  | 0
安装照明配电箱，包含内部元器件
133 | Supply and install incoming power cable from Landlord's meter room to the MCB inside office unit including all necessary accessories up to local and landlord's standard (YIV4*50+E25) | 159.45 | lm |  | 0
提供及安装进户总电缆从大楼电表箱到租户单元，含所有辅料，按照行业及大楼标准(YIV4*50+E25)
134 | Supply and install incoming power cable from Landlord's meter room to the servers room unit including power distribution box and all necessary accessories up to local and landlord's standard(YIV5*16) | 17.4 | lm |  | 0
提供及安装机房进户总电缆从大楼电表箱到租户单元，含所有辅料，按照行业及大楼标准(YIV5*16)
135 | Supply and install earthing system to IT room | 1 | nos |  | 0
提供及安装机房所需的接地系统
136 | Supply and install metal trunking (200*100*1.2) c/w accessories | 178 | lm |  | 0
提供及安装金属线槽(200*100*1.2) ，包括辅材
137 | Supply and install metal cable tray (100*100*1.0) c/w accessories | 307.5 | lm |  | 0
提供及安装金属桥架(100*100*1.0)，包括辅材
138 | Supply and install metal trunking (400*100*1.2) c/w accessories. | 254 | lm |  | 0
提供及安装金属线槽(400*100*1.2)，包括辅材
139 | Supply and install wall mounted 2+3 point c/w new conduit & wiring | 1074 | nos |  | 0
提供及安装墙面、地面2+3强电插座点位，包含新的管、线
140 | Supply and install wall mounted 2+3 power socket | 1074 | nos |  | 0
提供及安装墙面、地面2+3强电插座
141 | Supply and install floor mounted power socket box c/w new conduit & wiring. | 45 | nos |  | 0
提供及安装强电地插座盒
142 | Supply and install wall mounted lighting switch point c/w new conduit & wiring. | 45 | nos |  | 0
提供及安装墙面照明开关点位，包含新的管、线
143 | Supply and install wall mounted lighting switch | 45 | nos |  | 0
提供及安装墙面照明开关
144 | Supply and install 16A C-form (Provisional to Server Room) | 8 | nos |  | 0
提供及安装16安培工业插座(供应机房)
145 | Power point for art lightings，including lightings | 4 | nos |  | 0
提供及安装吊杆式艺术灯，包括新的管、线
146 | Power point for inbuilt down lightings，including lightings | 60 | nos |  | 0
提供及安装新的嵌入式筒灯，包括新的管、线
147 | Power point for inbuilt down LED lightings，including lightings | 16 | nos |  | 0
提供及安装新的嵌入式LED筒灯，包括新的管、线
148 | Power point for pended spot lightings，including lightings | 12 | nos |  | 0
提供及安装射灯，含光源及变压器
149 | Power point for line pending lightings，including lightings | 8 | nos |  | 0
提供及安装线型吊灯，包括轨道及新的管、线
150 | Power point for line pending lightings，including lightings | 3 | nos |  | 0
提供及安装透光亚克力线型吊灯，包括轨道及新的管、线
151 | Supply and install LED line lightings c/w new conduit & wiring. | 275.54 | lm |  | 0
提供及安装暗藏LED灯带，包括新的管、线
152 | Supply and install exit sign c/w new conduit & wiring. | 7 | nos |  | 0
提供及安装出口指示灯，包括新增的管及线
153 | Supply and install emergency lighting c/w conduit & wiring. | 13 | nos |  | 0
提供及安装应急照明，包括新增的管及线
154 | Supply and install existing lighting c/w conduit & wiring. | 1 | nos |  | 0
调整原有灯具为满足新的布局（包含管线）
155 | Supply and install JDG20 c/w accessories. | 877.5 | lm |  | 0
提供及安装JDG20线管，包括辅材(弱电穿线用）
156 | Public broadcasting system | 1 | nos |  | 0
公共广播系统
157 | Video synchronization system | 1 | nos |  | 0
视频同步播放系统
157 | Others, please specify. |  |  |  | 0
其它，请列明
|  |  |  | SUBTOTAL(J) | 0
K | Water supply and drainage works/ 给排水工作
158 | Supply and install PPR pipe for water supply, including necessary auxiliary material | 1 | point |  | 0
提供并安装绿植墙给水管道，含必要辅材
159 | Supply and install UPVC pipe for water drainage, including necessary auxiliary material | 1 | point |  | 0
提供并安装绿植墙排污管道，含必要辅材
160 | Supply and install water pump | 1 | nos |  | 0
提供并安装污水提升泵
160 | Others, please specify. |  |  |  | 0
其它，请列明
|  |  |  | SUBTOTAL(K) | 0
L | cable system\综合布线
161 | Cat5E UTP Cable （Panduit） | 160 | boxes |  | 0
超五类网线（泛达）
162 | Cat5E UTP Module （Panduit） | 700 | nos |  | 0
超五类模块（泛达）
163 | Cat5E 24 Ports Patch Panel （Panduit） | 32 | nos |  | 0
超五类24口配线架（泛达）
164 | Cat5E 3Meters Patch Cord （Panduit） | 1000 | nos |  | 0
超五类跳线3米（泛达）
165 | 86 Type Panel | 350 | nos |  | 0
86型双口面板
166 | 1U Cable Management Panel | 50 | nos |  | 0
1U理线架
167 | Cable Lable/Velcro | 60 | nos |  | 0
CASIO线缆标签/尼龙扎带
168 | 42U Rack | 7 | nos |  | 0
图腾42U机柜
169 | Installation & Test Fees | 1 | sum |  | 0
安装调试测试费
169 | Others, please specify. |  |  |  | 0
其它，请列明
|  |  |  | SUBTOTAL(L) | 0
M | Intelligent system、智能化工程
170 | Curtain wall curtain central control system. | 8 | nos |  | 0
幕墙窗帘中控系统
171 | Intelligent centralized lighting control system | 1 | nos |  | 0
智能集中照明控制系统
171 | Others, please specify.
其它，请列明
|  |  |  | SUBTOTAL(M) | 0
N | Air-conditioning Works/空调工程（由大楼指定分包完成）
172 | NSC site management fee appoiont by client | 1 | sum |  | 0
供应商配合费
172 | Others, please specify.
其它，请列明
|  |  |  | SUBTOTAL(N) | 0
O | Fire System /消防工程（由大楼指定分包完成）
173 | NSC site management fee appoiont by client | 1 | sum |  | 0
供应商配合费
173 | Others, please specify. |  |  |  | 0
其它，请列明
|  |  |  | SUBTOTAL(O) | 0
|  |  |  | TOTAL | 0
|  |  |  | Add site mangement fee (8%) | 0
|  |  |  | Add government tax 11% | 0
|  |  |  | GRAND TOTAL | 0

## IT equipment
QUOTATION工程量清单
Project NO. ：
GALAXY FUTURES Shanghai office Net work
Date:2018_03_30
序号 | DESCRIPTION OF WORKS | model、size、specifications | quantity | Unit | Rate | Amount
A | UPS\不间断电源系统
1 | Uninterrupted Power Supply |  | 1 | nos |  | 0
UPS主机，50KVA（25K一个模块，125KV整体框）
2 | battery |  | 80 | nos |  | 0
蓄电池12V-100AH
3 | The battery cabinet |  | 2 | nos |  | 0
电池柜（一体化）定制
4 | Dispersion force plane |  | 3 | nos |  | 0
散力架定制
5 | Air switch box with air switch |  | 2 | nos |  | 0
直流空开带空开箱
6 | Battery cable |  | 80 | lm |  | 0
电池连接线
7 | Battery cable between box & battery |  | 50 | lm |  | 0
主机与电池间连接线（主机电池箱距离按5米预估）
8 | The battery connects the copper terminal. |  | 160 | nos |  | 0
电池连接铜端子
9 | Installation & Test Fees |  | 1 | sum |  | 0
货运搬运安装
9 | Others, please specify. |  |  |  |  | 0
其它，请列明
[5 empty] | SUBTOTAL(A) | 0
B | The telephone system\电话系统
10 | IPO IP500 V2 CNTRL UNIT |  | 1 | nos |  | 0
IPO500 V2 控制单元
11 | IPO IP500 V2 SYS SD CARD AL |  | 1 | nos |  | 0
IPO500 V2 系统SD卡
12 | RACK MNTG KIT |  | 11 | nos |  | 0
机架安装配件
13 | POWER LEAD (EARTHED) CHINA |  | 11 | nos |  | 0
电源线
14 | IP OFFICE R9.1 UPGRADE ADI LIC:DS |  | 1 | nos |  | 0
IPO R9.1升级许可（ADI）大型
15 | IPO MC VCM 32 V2 |  | 1 | nos |  | 0
IPO 500 MC VCM 32 V2
16 | IPO IP500 TRNK PRI UNVRSL SNGL |  | 2 | nos |  | 0
提供1个E1接口
17 | IPO IP500 EXT CARD PHONE 2 |  | 2 | nos |  | 0
IPO 500 EXTENSION CARD PHONE 2
18 | IPO IP500 EXP MOD PHONE 30 |  | 10 | nos |  | 0
IPO 500 EXP MOD PHONE 30
19 | IPO IP500 EXP CARD 4PT |  | 1 | nos |  | 0
IPO IP500 4端口扩展模块卡
20 | IP OFFICE R9.1 ESSENTIAL EDITION ADI LIC:DS |  | 1 | nos |  | 0
IPO R9.1 基本版软件许可（ADI）
21 | IP OFFICE R9.1 PREFERRED VOICEMAIL PRO ADI LIC:DS |  | 1 | nos |  | 0
IPO R9.1 首选版软件许可（ADI）
22 | IPO R9+ IP500 VCE NTWK 4 ADI LIC |  | 4 | nos |  | 0
IPO R9+ IP500组网许可（ADI）
23 | IPO R9+ AV IP ENDPT 20 ADI LIC |  | 1 | nos |  | 0
IPO R9+ Avaya IP电话 20用户许可（ADI）
24 | IPO R9+ IP500 E1 ADD 22CH ADI LIC |  | 2 | nos |  | 0
IPO R9+ IP500 增加22个E1中继通道（ADI）
25 | IPO R9+ IP500 E1 ADD 22CH ADI LIC |  | 2 | nos |  | 0
ZIBO 梓博PRI录音卡 PCI插槽
26 | ZIBO Billing software |  | 1 | nos |  | 0
ZIBO 梓博计费软件
27 | Industrial PC |  | 1 | nos |  | 0
工控机
28 | Installation & Test Fees |  | 1 | sum |  | 0
安装调试测试费
28 | Others, please specify. |  |  |  |  | 0
其它，请列明
[5 empty] | SUBTOTAL(B) | 0
C | EMS\环境监控系统
29 | IT辅助设备 |  | 1 | nos |  | 0
| 服务器-RH2288H V3-用于NetEco6000-中文基础版-双电源 | WM5MSERVERA9-02311YAL | 1 | nos |  | 0
| Light Application Data Management Software Package(5.6 S),1年标准产品服务 | WM5GLADMVE56-05331608 | 1 | nos |  | 0
32 | 网络设备 |  | 1 | nos |  | 0
| 网络设备-短信猫-告警短信发送-GSM(GSM 900/1800Mhz,含3M天线,电源转接头) | Modem-TD-8013-02232DQY | 1 | nos |  | 0
34 | 采集器 |  | 1 | nos |  | 0
| 采集器 ECC500 | IDSECC500SE0-02310RKL | 1 | nos |  | 0
36 | 传感器 |  | 1 | nos |  | 0
| 传感器-非定位式水浸传感器-12VDC-支持常开或常闭触点-标配5m水浸绳,最大延长到50m | LIQLVLSENS00-33010352 | 1 | nos |  | 0
| 传感器-温湿度传感器-带LED显示-12VDC供电-RS485 | TEMHUMSENS00-33010346 | 1 | nos |  | 0
39 | 能源辅助设备 | 能源辅助设备 | 3 | nos |  | 0
| 制式电源线-中国交流250V10A-1.5m-(C14直公)-(227IEC53(RVV)1.0mm^2(3C))-(C13直母)-250V-10A-PDU电缆 | IDS2PWRCBL00-04050188 | 3 | nos |  | 0
41 | 软件 |  | 1 | nos |  | 0
| 基础软件-中型数据中心管理基础平台-License-含50智能节点接入 | WM5BSCSOFT11-88034QMY | 1 | nos |  | 0
43 | 技术支持 |  | 1 | nos |  | 0
| ECC500-Hi-Care高级服务标准+ 7x10xND-36月 | 02310RKL-88134UFK-36——88134UFK | 1 | nos |  | 0
| 基础软件-中型数据中心管理基础平台-License-含50智能节点接入-Hi-Care应用软件支持服务-36月 | 88034QMY-88134UGA-36——88134UGA | 1 | nos |  | 0
45 | Others, please specify. |  |  |  |  | 0
其它，请列明
[5 empty] | SUBTOTAL(C) | 0
D | 思科服务器
46 | WS-C3850-48T-E |  | 4 | nos |  | 0
| CON-PSRT-WSC384TE |  | 4 | nos |  | 0
| CAB-TA-CN |  | 8 | nos |  | 0
| C3850-NM-4-10G |  | 4 | nos |  | 0
| S3850UK9-37E |  | 4 | nos |  | 0
| STACK-T1-50CM |  | 4 | nos |  | 0
| CAB-SPWR-30CM |  | 4 | nos |  | 0
| PWR-C1-350WAC |  | 4 | nos |  | 0
| PWR-C1-350WAC/2 |  | 4 | nos |  | 0
55 | WS-C2960X-48TD-L |  | 9 | nos |  | 0
| CON-SNT-WSC298DL |  | 9 | nos |  | 0
| CAB-ACC |  | 9 | nos |  | 0
58 | WS-C2960X-24PD-L |  | 1 | nos |  | 0
| CON-SNT-WSC604DL |  | 1 | nos |  | 0
| CAB-ACC |  | 1 | nos |  | 0
61 | SFP-10G-SR |  | 16 | nos |  | 0
62 | Panduit Fire Cable LC－LC |  | 8 | nos |  | 0
63 | ASA5525-K9 |  | 4 | nos |  | 0
64 | AIR-CT2504-15-K9 |  | 1 | nos |  | 0
| CON-SSSNT-CT2550 |  | 1 | nos |  | 0
| LIC-CT2504-BASE |  | 1 | nos |  | 0
| CON-ECMUS-LIT4BASE |  | 1 | nos |  | 0
| AIR-CT2504-CCBL |  | 1 | nos |  | 0
| AIR-CT2504-K9 |  | 1 | nos |  | 0
| AIR-CT2504-SW-8.0 |  | 1 | nos |  | 0
| CAB-AC2CHI |  | 1 | nos |  | 0
72 | AIR-AP2802I- H-K9 |  | 12 | nos |  | 0
| CON-SNT-AIRAPIKB |  | 12 | nos |  | 0
74 | CISCO2921/K9 |  | 1 | nos |  | 0
| MEM-2900-512U2.5GB |  | 1 | nos |  | 0
| FL-C2921-WAASX |  | 1 | nos |  | 0
| PWR-2921-51-AC |  | 1 | nos |  | 0
| CAB-ACC |  | 1 | nos |  | 0
| NAL-FOC-2921 |  | 1 | nos |  | 0
| WAAS-RTU-1300 |  | 1 | nos |  | 0
| SL-29-IPB-K9 |  | 1 | nos |  | 0
| ISR-CCP-EXP |  | 1 | nos |  | 0
| SM-S-BLANK |  | 1 | nos |  | 0
| MEM-CF-256MB |  | 1 | nos |  | 0
| SL-29-DATA-APP-K9 |  | 1 | nos |  | 0
| HWIC-BLANK |  | 4 | nos |  | 0
| SM-D-BLANK |  | 1 | nos |  | 0
| S29UK9-15501T |  | 1 | nos |  | 0
| SL-29-APP-K9 |  | 1 | nos |  | 0
| CON-SCIN-2921 |  | 1 | nos |  | 0
90 | Others, please specify. |  |  |  |  | 0
其它，请列明
[5 empty] | SUBTOTAL(D) | 0
E | 监控系统
91 | IR Camera |  | 8 | nos |  | 0
200万红外半球摄像机（海康威视)DS-2CD3325F POE 支持音频
92 | Digital Video Recorder |  | 1 | nos |  | 0
专业硬盘录像机（海康威视7908N-K4/8P)
93 | HDD for DVR (4TB) |  | 2 | nos |  | 0
DVR专用硬盘（WD监控级 4TB）
94 | Video Cable |  | 1 | nos |  | 0
摄像机视频线
95 | JDG Pipes |  | 1 | nos |  | 0
JDG管材
96 | Installation auxiliary materials |  | 1 | nos |  | 0
安装辅材
97 | Installation & Test Fees |  | 1 | sum |  | 0
安装调试费
97 | Others, please specify. |  |  |  |  | 0
其它，请列明
[5 empty] | SUBTOTAL(E) | 0
F | 门禁系统
98 | 4Doors Access controller |  | 2 | nos |  | 0
四门控制器(中控 C3-400）
99 | Magnet locker |  | 4 | nos |  | 0
电插锁/磁力锁（中控AL-100)
100 | Power Supply |  | 4 | nos |  | 0
门禁专用电源（中控AP-105）
101 | Card Reader |  | 5 | nos |  | 0
读卡器（中控F系列）
102 | Release Button |  | 5 | nos |  | 0
出门按钮
103 | Panic Button |  | 1 | nos |  | 0
玻璃破碎器
104 | Communication & Power Cables |  | 1 | nos |  | 0
通讯线/电源线/辅材
105 | ID Card |  | 300 | nos |  | 0
ID卡
106 | Installation & Test Fees |  | 1 | sum |  | 0
安装调试费
106 | Others, please specify. |  |  |  |  | 0
其它，请列明
[5 empty] | SUBTOTAL(F) | 0
[5 empty] | TOTAL | 0
[5 empty] | Add site mangement fee (8%) | 0
[5 empty] | Add government tax 11% | 0
[5 empty] | GRAND TOTAL | 0